注：带★的栏目客户为必须填写的项目

(The Items With ★ Must Be Completed By Customer)         委托单编号(Application Form No.)：

| 申请商 (Applicant) | ★公司名称(Company Name)： |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ★公司地址(Address)： |  |  |  |  |  |  |  |  |  |  |
|  | ★联系人(Contact Person)： |  |  |  |  |  |  |  |  |  |  |
|  | ★联系电话(Tel)： |  |  | 传真(Fax)： |  |  |  |  | 邮箱(E-mail)： |  |  |
| 样品信息 (Product Information) | 样品类型/数量 Sample Type And Quantity |  | E12 pcs E26 pcs GU24 pcs E39 pcs 其它(Other)： pcs |  |  |  |  |  |  |  |  |
|  | 光源类型 Light Source Type |  | LED CFL HID 其它(Other)： |  |  |  |  |  |  |  |  |
|  | ★样品名称 Sample Name |  |  |  |  |  |  | ★样品总数量 Sample Total Quantity |  |  |  |
|  | 最大尺寸 Full-size(cm) |  |  |  |  |  |  | ★样品型号 Sample Type |  |  |  |
|  | ★额定电压 Rated Voltage(V) |  |  |  |  |  |  | ★额定频率 Rated Frequency(Hz) |  |  |  |
|  | 额定输入电流 Rated Input Current(A) |  |  |  |  |  |  | ★额定功率 Rated Power(W) |  |  |  |
|  | 提供资料 Supply Information |  | 产品规格书（Product Specification） 电路图（Circuit Diagram） 其它配件规格书（Others Specifications） |  |  |  |  |  |  |  |  |
|  | ★检测目的 Test Purpose |  |  |  |  |  |  |  |  |  |  |
| ★申请检测项目(Apply Test Items) |  |  |  |  |  |  |  |  |  |  |  |
| 常规测试(General Test) |  |  |  |  |  |  |  |  |  |  |  |
| 全项All Items |  |  |  |  |  | 标志测试Marking Test |  |  |  |  |  |
| 绝缘电阻测试Insulation Resistance Test |  |  |  |  |  | 耐压测试Dielectric Voltage-withstand Test |  |  |  |  |  |
| 带电部件可接触测试Accessibility Of Live Parts Test |  |  |  |  |  | 潮态测试Humidity Conditioning Test |  |  |  |  |  |
| 输出负载测试Output Loading Test |  |  |  |  |  | 应力释放测试Stress Relief Test |  |  |  |  |  |
| 接地电阻测试Grounding Continuity Test |  |  |  |  |  | 扭曲测试Deflection Test |  |  |  |  |  |
| 漏电流测试Leakage Current Test |  |  |  |  |  | 输入测试Input Test |  |  |  |  |  |
| 机械强度测试Mechanical Strength Test |  |  |  |  |  | 跌落测试Drop Test |  |  |  |  |  |
| 开关测试Switches Test |  |  |  |  |  | 正常温升测试Normal Temperature Test |  |  |  |  |  |
| 谐波失真测试Harmonic Distortion Test |  |  |  |  |  | 非正常温升测试Abnormal Temperature Test |  |  |  |  |  |
| 冲击测试Impact Test 电源线扭矩测试Power-Supply Cord Twist Test 螺丝扭力测试Torque Test On Screws Test 防腐蚀性测试Resistance To Corrosion Test 短路保护Short-circuit Protection 螺纹接地端子测试Screw Terminals Test |  |  |  |  |  | 稳定性测试Stability Test 无螺纹接地端子测试Screwless Terminals Test 悬挂和调节装置测试 Suspensions And Means Of Adjustment Test 灯头灯座可接触性测试 Lampholder And Lampbase Accessiblity Test |  |  |  |  |  |
| 线缆拉力测试Cable Pull Test |  |  |  |  |  |  |  |  |  |  |  |
| 其它(Other)： |  |  |  |  |  |  |  |  |  |  |  |
| 异常操作测试(Abnormal Test) |  |  |  |  |  |  |  |  |  |  |  |
| 零件破坏测试Component Breakdown Test |  |  |  |  |  | 组件故障测试Component Fault Test |  |  |  |  |  |
| 过载测试Overlamping Test 过热保护测试Protection Against Overheating Test |  |  |  |  |  | 毛毯覆盖测试Blanketing Test 过功率测试Overpower Condition Test |  |  |  |  |  |
| 其它(Other)： |  |  |  |  |  |  |  |  |  |  |  |
| 非金属材料测试(Nonmetal Materials Test) |  |  |  |  |  |  |  |  |  |  |  |
| 针焰测试Needle Flame Test |  |  |  |  |  | 漏电起痕测试Tracking Test |  |  |  |  |  |
| 灼热丝测试Glow Wire Test |  |  |  |  |  | 球压测试Ball Pressure Test |  |  |  |  |  |
| 淋雨测试(Rain Test) |  |  |  |  |  |  |  |  |  |  |  |
| IPX1 IPX2 IPX3 IPX4 IPX5 IPX6 IPX7 喷淋Spray 花洒Spinkler |  |  |  |  |  |  |  |  |  |  |  |
| 防尘测试(Dustproof Test) |  |  |  |  |  |  |  |  |  |  |  |
| IP1X IP2X IP3X IP4X IP5X IP6X |  |  |  |  |  |  |  |  |  |  |  |
| ★申请检测标准(Apply Test Standards) |  |  |  |  |  |  |  |  |  |  |  |
| UL:; UL153; UL1598; UL1786; UL1993. UL8750; UL1310; UL935. IEC:; IEC60598-1; IEC60598-2-1; IEC60598-2-2; IEC60598-2-3. IEC60598-2-4; IEC60598-2-22; IEC60598-2-24; IEC60598-2-7. IEC60598-2-8; IEC60598-2-12; IEC60598-2-13; IEC60598-2-17. IEC60598-2-18; IEC60598-2-19; IEC60598-2-25; IEC60598-2-10. IEC60598-2-6; IEC60598-2-20; IEC60598-2-11; IEC60598-2-23. IEC60598-2-5; IEC62031; IEC61347-1; IEC61347-2-13. IEC61347-2-1; IEC61347-2-2; IEC61347-2-3; IEC61347-2-4. IEC61347-2-8; IEC61347-2-9; IEC61347-2-11; IEC61347-2-12. IEC60112; IEC60695-11-5; IEC60695-2-10; IEC60695-2-11. IEC60695-10-2; IEC60990; IEC60529. EN :; EN60598-1; EN60598-2-1; EN60598-2-2; EN60598-2-3. EN60598-2-4; EN60598-2-22; EN60598-2-24; EN60598-2-7. EN60598-2-8; EN60598-2-12; EN60598-2-13; EN60598-2-17. EN60598-2-18; EN60598-2-19; EN60598-2-25; EN60598-2-10. EN60598-2-6; EN60598-2-20; EN60598-2-11; EN60598-2-23. EN60598-2-5; EN62031; EN61347-1; EN61347-2-13. EN61347-2-1; EN61347-2-2; EN61347-2-3; EN61347-2-4. EN61347-2-8; EN61347-2-9; EN61347-2-11; EN61347-2-12. EN60112; EN60695-11-5; EN60695-2-10; EN60695-2-11. EN60695-10-2; EN60990; EN60529. GB:; GB7000.1; GB7000.201; GB7000.202; GB7000.203. GB7000.204; GB7000.2; GB7000.17; GB7000.207. GB7000.208; GB7000.212; GB7000.213; GB7000.217. GB7000.218; GB7000.219; GB7000.225; GB7000.4. GB7000.6; GB7000.9; GB7000.211; GB7000.18. GB7000.7; GB24819; GB19510.1; GB19510.14. GB19510.2; GB19510.3; GB19510.4; GB19510.5. GB19510.9; GB19510.10; GB19510.12; GB19510.13. GB/T 4207; GB/T 5169.5; GB/T 5169.10; GB/T 5169.11. GB/T 5169.13; GB/T 12113; GB 4208. 实验室检测方法/ Lab Testing Methods： 客户自定义方法/Customer Defined Methods： 其它(Other)： |
| ★服务类型(业务员根据具体测试项目填写) / Service Type |  | 普通/Regular |  |  | 急件/Express (增收50%服务费/50% Fee Increase) |  |  |  |  | 特急Emergency (增收100%服务费/100% Fee Increase) |  |
| ★送样方式/ Send Sample Manner |  | 快递/Express |  |  | 自送/Delivered By Yourself |  |  |  |  | 其它/Other： |  |
| ★取报告方式/ Receive Report Manner |  | 自取/ Self Pick-up |  |  | 快递到付/ Express Delivery |  |  |  |  | 电子邮件传送/ Email |  |
| ★报告服务/ Report Service |  | 中文简报/ Chinese Briefing |  |  | 中文报告/ Chinese Report |  |  |  |  | 英文报告/English Report(增收￥100/￥100 Increase) |  |
| ★样品处理方式/ Sample Handling Manner |  | 退回/Return 实验室自行处理(保留二周) / Lab To Handle(Keep Two Weeks) |  |  |  |  |  |  |  |  |  |
| 检测费用/Test Charge(含税/ Includes Tax)： |  |  |  |  |  |  |  |  |  |  |  |
| 已阅知背面《台表科技（苏州）电子有限公司实验室商业条款》，知悉相关条款内容。对因违反条款规定而造成的损失和后果，愿意承担一切责任。签字确认后的测试委托单的传真件、复印件均有效。 I have read the "Taiwan Surface Mounting Technology (Suzhou) Electronics Co., Ltd. Laboratory of commercial terms" understand the relevant terms. Losses caused by the violation of the provisions, I am willing to bear all the responsibility. The fax and copy of this signed application form are effective. 申请人签名/盖章(Applicant Signature)： 日期（Data）： |  |  |  |  |  |  | 实验室主管或授权人签字/盖章(Lab Signature)： 业务(Salesman)： 检测室(Test Room)： 实验室主管(Lab Manager)： 日期(Date)： |  |  |  |  |